IEEE SWITCHGEAR COMMITTEE CORRESPONDENCE

Minutes:	IEEE High-Voltage Fuse Subcommittee

Place:	Philadelphia, PA

Date:	October 17th 2007

Presiding officer:	John Leach - Chair

Recorder:	Frank Muench - Secretary

MEMBERS PRESENT

G. Borchardt		S & C Electric Company

G. Haynes	ABB Inc.

F. Ladonne	Underwriters Laboratories

J. G. Leach	Consultant - Hi-Tech Fuses

F. J. Muench	Cooper Power Systems

R. N. Parry		Cutler Hammer

T. E. Royster*		Dominion Virginia Power

M. Stavnes	S & C Electric

J.  Zawadzki	Powertech Labs Inc.

MEMBERS ABSENT

J. G. Angelis*		Consultant

R. H. Arndt*		Consultant

L. R. Beard*	A.B. Chance Co.

F. Calderon 	AC Electric Systems

R. L. Capra 	Consultant

J. G. St. Clair	Consulting Engineer

H. E. Foelker*	 	Central Power & Light

S. P. Hassler*		Cooper Power Systems

J. R. Marek		Consultant

D. Parker		Alabama Power

R.    Ranjan*		Consultant

J. S. Schaffer		G & W Electric Co.

F. M. Stepniak		Elastimold/T&B

* Correspondence Only

- Call meeting to order

Began meeting at 3:50 PM. The patent/inappropriate topics slides were reviewed.

###### Member /guest introduction

Completed

- Roster check - membership changes – resignations John Wood. The Subcommittee wished to express their thanks to John for his many years of service, and a thank-you note will be sent.

Apologies were received from Jim Marek, Don Parker, and John Angelis.

- Approval of May 9th, 2007 minutes

Minutes were corrected to reflect that the date of the previous minutes approved was October 4th, 2006.  The corrected minutes were accepted.

- Chairman's report

ADSCOM Report

  - Thanks are expressed to our sponsors, without whom our $150 registration fee would be about $400.

  - The ADSCOM meeting will be streamlined by omitting written and oral subcommittee reports

  - Document status must be reported to the Standards coordinator (Michael Wactor) before each meeting.

  - The recently introduced IEEE MyProject committee/project “Tree” has technical problems.  When these are fixed, WG members must go online to register their interest.  An e-mail and tutorial will be sent to everyone when things are correct.

  - Beta trials of the IEEE Definitions Database (the old 100) were encouraging.  A decision on whether to add our definitions to this or change C37.100 to a compendium of terms was tabled until the database is active and access/fees are determined.

  - C37.100.1, Common Clauses has been published. WG chairs should request a copy to distribute to their members from Matt Ceglia.  We must consider incorporating, by reference, any appropriate clause into our documents.  If an apparently appropriate clause is not used, our standard must include an explanation as to why the C37.100.1 clause cannot be used.

  - There was discussion concerning “Balance” in our subcommittees and WGs.  I pointed out that we were unable to achieve balance due to our lack of users.  The Switchgear operations manual will therefore reflect that balance is a goal, but not a requirement.

  - We may need to “Balance” a comment resolution group.  If so, a subset of the WG that is balanced will be named.

  - IEEE Procedures Committee is setting up an Ad Hoc group to examine the reaffirmation process.  It is likely we will have representation.

  - A formal “Standing Working Group”, consisting of Switchgear officers and former chairs, was created.  Their responsibility will be to plan future meetings.  It is hoped that better long-term plans will be possible, and growth continue (registered attendance has approximately doubled over the last 7 years, and this meeting has a record 170 registered).

  - It was agreed to set up an on-line registration process, linked to a password-protected database of members and attendees.  It should be implemented within a month, and members will have to input their own data for security purposes.

  - There was discussion of moving the ADSCOM meeting from Tuesday, to enable all rooms to be used Tuesday morning.  Possibilities discussed included having the main meeting on Wednesday afternoon.  However it was felt that ADSCOM should meet before the main meeting.  Look carefully at the next schedule!

  - We would still like an assistant Webmaster.

6) Working Group Reports

a) Revision of Fuse Specification Standards:  Mark Stavnes reported that 9 members and 2 guests were present at the Monday meeting.

  - C37.45 has been published (September 2007)

  - C37.43  Draft 9 was balloted with 51 affirmative and 2 negative votes. All ballot comments, including the negatives were addressed at the meeting.  In order to completely address a number of comments, a revised PAR is required and this request has been submitted.  A recirculation will be needed which will be performed after the PAR revision is accepted.

  - C37.42  PAR submitted May 6, 2007, which was approved.  The WG reviewed Draft 6 between meetings and a discussion of member comments was performed at the meeting.  These modifications will be incorporated in a Draft 7 and circulated for further WG review.

  - C37.46 and C37.47 ― No work. This will be deferred until the subcommittee meeting to be held Wednesday October 17.

- Revision of Fuse Standards: John Leach reported that the group met on the morning and early afternoon of October 17th with 9 members and 2 guests.

- A revised PAR for C37.41 (reflecting a change in title and scope) has been submitted.

- All revision items for C37.41 have resulted in proposals in C37.41D7h except non-ceramic insulators.  Members have reviewed IEC non-ceramic insulator standards and concluded that the work required to address this issue in relation to cutouts in C37.41 is too extensive, and the situation is in too much flux for this revision of C37.41.  This work will be deferred until the next revision.

- C37.41 draft 7h was reviewed by the group.  Most proposals were accepted with minor changes.  A few new items requiring modification were identified and changed.

- The intention is to circulate the modified draft (draft m) to the working group within two weeks.  After this the document will be put into the current IEEE format.  Many of the figures from the present standard were not supplied by the IEEE.  If they cannot be obtained, and have to be re-drawn, this will take more time.  However it is hoped to commence the first ballot before the end of the year, or in January (proposed on the PAR) at the latest in order to have comments to review at the May meeting.

- Report of liaison to other committees

- ER&P Committee – J. G. Leach

  - Proposals for the distinguished service award, and WG awards were discussed.

# Switchgear Common Clauses – Frank Muench reported that C37.100.1 has been published, so there will be no further reports.

- Report of IEC activities - J. G. Leach

Meetings of MT3 and MT4 have occurred, see Attachment A for details.

- Unfinished business

None

- New business– Discussion of future C37.4X standards structure was undertaken.  Recommendations of the group were to combine the documents C37.42 and the expulsion fuse information from C37.46 into a combined distribution and power class expulsion fuse document (C37.42). Portions of C37.46 related to current-limiting fuses would then be added to C37.47 creating a CL fuse distribution and power class document (C37.47).  C37.46 would then disappear. After these document simplifications, the subcommittee could then review the possibility of further document conflation into one (or two) single combined testing and specification standards at a later time (more like the present IEC layout).  C37.43 and C37.45 would remain as they are.

.

- Next meeting –2008 Spring meeting, May 18th – 22nd Orlando FL Disney’s Coronado

Fall 2008 Calgary, Canada, late September – early October.

- Adjournment took place at 4:30 PM.

Respectfully Submitted, 	Frank Muench, Secretary

# Attachment A

# IEC Report 2-2007, October, 2007

From: Dr. John G. Leach, Technical Advisor SC32A, October 12th 2007

A committee Draft Vote for IEC 60282-2 (expulsion fuses), 32A/253e/CDV, was held, with a deadline of May 25th.  The USA voted affirmative, with some editorial comments, and one technical comment.

#### Maintenance teams 3 and 4 met in September, concurrently with the 8th International Conference on Fuses and their Application, in Clermont-Ferrand, France.  MT3 met on the afternoons of the 11th and 12th. The revision of IEC 60282-1 (current-limiting fuses) was discussed.  The scope of the revision is limited to correcting errors in the published document.  The desirability of having figures and tables at the end of the document was discussed (then when a table is referenced more than once it is easier to find).  It was decided to request that the figures and tables be moved, but this is largely an editorial decision so we may be overruled. Notes that contain important information are to be changed from being notes.  An attempt will be made to have footnote letters made larger for better visibility.  Some time was spent discussing the importance of using initial capital letters for Back-up, General Purpose, and Full Range fuses (nouns) in the text to distinguish these defined fuses from “back-up” (adjective) fuses, which could mean something different. This has been an ongoing problem with IEC editors.  There was discussion on forming an Ad-Hoc working group to gather the material for a comprehensive application guide.  Norbert Stein had proposed a small group of three or four members to do this (Norbert, Phil Rosen, John Leach, Wilhelm Rondeel and Stephane Melquiond). It was obvious that other members might want to get involved, but it was pointed out that a few people who could dedicate a significant amount of time just to put together a detailed outline/draft for other’s to look at would be the most efficient way to do this.  Subsequent to the meeting, we have had to initiate a formal procedure for this.  The National Committees have been asked to approve the formation of the Ad Hoc committee.  If this is approved (the US have voted affirmative) then NCs will have to nominate members, so we may not end up with a very efficient process if we get a lot of volunteers!

#### MT 4 met on Friday September 14th.  The minutes are reproduced below (without the detailed comments to 60282-2).  The time was spent examining submitted comments to the CDV (there were no negative votes).  Several comments were accepted, or accepted in principle, including the US technical comment.  The document was prepared for the Final Draft International Standard vote.  Since no comments to that vote are considered (unless the vote fails) the convenor, Juan Carlos Pérez, anticipated no further meeting of MT4.

John Leach

TA for TC32 and SC32A

Minutes of the MT4 meeting hold in Clermont-Ferrand, France, on September  14th , 2007

LIST OF PARTICIPANTS

H. Handcook (Cooper Bussmann - UK)

J. Leach (USA)

Henk te Paske (KEMA – Norway)

N. Stein (DE)

F. Muench (Cooper Bussmann – USA)

J.C.Pérez (MESA/=S= - ES)							Convenor MT4

# CONTENTS AND AGREEMENTS

- Revision minutes of the last meeting

The minutes of the last meeting was approved without any comments.

- Discussions and observations regarding Compilation of Comments on CDV

- Next meeting

Based on the 100% of positives votes received from NC’s to the CDV, and taking into account that the majority of the comments received have been editorials, no further meetings has been scheduled for the next stages.

Attachment B – Document Status

| HVFSC PROJECT STATUS – October 17th 2007 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Document ID | PAR Number | PAR EXP. DATE | Contact Person | Status |
| C37.40-2003 | None |  | J. G. Leach-WG Chair (828) 256 3744 J. G. Leach-HVF Subcom. Chair (828) 256-3744 | No activity. |
| C37.41-2000 | PC37.41 | 12/31/08 |  | Draft 7 completed. |
| C37.48-2005 | None |  |  | No activity. |
| C37.48.1-2002 | None |  |  | Re-affirmation ballot in progress. |
| C37.42-1996 Transferred from NEMA | None | 2011 | M. Stavnes – WG Chair (773) 338-1000 J. G. Leach – HVF Subcom. Chair (828) 256-3744 | Draft 6 completed. PAR obtained. |
| C37.43 New document from NEMA | PC37.43 | 12/31/07 |  | Balloted – comment resolution. PAR extension requested. |
| C37.45-1981 Transferred from NEMA | PC37.45 | 12/31/07 |  | Published |
| C37.46-2000 Transferred from NEMA | None |  |  | PAR to be requested when C37.42 completed. |
| C37.47-2000 Transferred from NEMA | None |  |  | PAR to be requested when C37.42 completed. |
| C37.53.1-1989 Transferred from NEMA | PC37.53.1 | 12/31/07 |  | Parts incorporated into C37.41 revision. PAR to be withdrawn. |