IEEE SWITCHGEAR COMMITTEE CORRESPONDENCE

Minutes:	IEEE High-Voltage Fuse Subcommittee

Place:	Orlando, FL

Date:	May 21st, 2008

Presiding officer:	John Leach - Chair

Recorder:	Frank Muench - Secretary

MEMBERS PRESENT

G. Borchardt		S & C Electric Company

R. L. Capra 	Consultant

G. Haynes	ABB Inc.

F. Ladonne	Underwriters Laboratories

J. G. Leach	Consultant - Hi-Tech Fuses

J. R. Marek		Consultant

F. J. Muench	Cooper Power Systems

D. Parker		Alabama Power

T. E. Royster*		Dominion Virginia Power

M. Stavnes	S & C Electric

J.  Zawadzki	Powertech Labs Inc.

MEMBERS ABSENT

J. G. Angelis*		Consultant

L. R. Beard*	A.B. Chance Co.

F. Calderon 	AC Electric Systems

H. E. Foelker*	 	Central Power & Light

S. P. Hassler*		Cooper Power Systems

R. N. Parry		Cutler Hammer

R.    Ranjan*		Consultant

J. S. Schaffer		G & W Electric Co.

* Correspondence Only

GUESTS

Jean-Chris Bertrand	Ferraz Shawmut

Dan Gardner	T&B – Hi-Tech

Ed Jankowich	Thomas & Betts

Alan Yerges	Cooper Power Systems

- Call meeting to order

Began meeting at 10:15 AM. The patent/inappropriate topics slides were reviewed.

###### Member /guest introduction

Members and guests introduced themselves.

- Roster check - membership changes

John St. Clair has resigned from the subcommittee and working groups.  The subcommittee expressed thanks for his long years of service.  We believe that he had the second longest service years within the current membership of subcommittee.  Frank Stepniak has also retired, and resigned.

The death of long-term member Dick Arndt was noted with sadness.

Don Parker requested, and received, sub-committee membership.

- Approval of October 17th, 2007 minutes – minutes were approved without change.

- Chairman's report

There was no ADSCOM Report as ADSCOM had not yet met. The standards status report was presented and is attached to these minutes (attachment B)

- Working Group Reports

a) Revision of Fuse Specification Standards:  Mark Stavnes reported that 9 members and 3 guests were present at the Tuesday meeting.

- C37.43 has been balloted and submitted to REVCOM

- C37.42 draft 9 will be balloted as soon as possible

- C37.46 and C37.47: the process of updating these documents into IEEE format has begun

- We have a proposal to combine C37.42, .43, .45, .46 and .47 into C37.41 at the next revision of C37.41. This was discussed under new business

- Revision of Fuse Standards: John Leach reported that the group met on the morning and early afternoon of May 20th with 12 members (including two new members) and 4 guests.

- The discussion focused on the results of the recent ballot of C37.41.  There were 104 comments, with two negatives.  All were dealt with during the session.  Two of the ballotters had 80% of the comments.

- The focus of many comments dealt with the inclusion of reference to C37.100.1.  The WG felt that we had addressed inclusion of this standard appropriately.  We are still looking at the possibility of citing C37.100.1 for measuring asymmetrical waveforms.

- Other comments dealt with use of dated references, these were generally accepted. Specifically all documents that this subcommittee is responsible for will become undated references.

- The third major discussion was to move from RIV to Partial discharge.  However, since there are no standardized values for partial discharge determined, as of yet, we will continue the use of RIV.

- Report of liaison to other committees

- ER&P Committee – J. G. Leach

The meeting had not yet taken place – no report.

- Report of IEC activities - J. G. Leach

See the attached IEC report (Attachment A).

- Unfinished business

None

- New business – A proposal to move specification standards C37.42, .43, .45, .46 and 47 into C37.41 at the next revision of C37.41 was made. Presently, due to the method of dated cross referencing, revised specification documents may not be referred to by the testing document C37.41 for several years.  It is therefore desirable to have all matters related to testing appear in one document that would be fully updated when any one part requires revision.  This was agreed to by consensus.

At the next subcommittee meeting we will determine who will implement this initiative, when hopefully, work on C37.41 will be complete, and NEMA documents have been transformed into IEEE documents.

A proposal was made to have the WG on Revision of Fuse Standards begin work on C37.48.1 revision, after completion of the C37.41 balloting.  This was approved by consensus.

- Next meetings – Fall 2008 Calgary, Canada, October 12th – 16th. Spring 2009, Ashville, NC.

- Adjournment took place at 11:37 AM.

Respectfully Submitted, 	Frank Muench, Secretary, 5-21-08

# Attachment A

# IEC Report 2008-1, May 2008

From: Dr. John G. Leach, Technical Advisor SC32A, May 16th 2008

IEC actions since October 2007:

Final Draft International Standard (FDIS) IEC 60282-2 Ed. 3.0 High-voltage fuses - Part 2: Expulsion fuses (expulsion fuses), was approved, unanimously, and published in April 2008.

A committee draft 32A/262/CD on “IEC 60644 Ed. 2.0: Specification for high-voltage fuse-link for motor circuit applications” was circulated for comments. This was primarily an update of references and re-formatting. The US voted to approve with no comments.

A committee draft 32A/258/CD on “IEC 60282-1 Ed. 6.0: High voltage fuses - Part 1: Current limiting fuses was circulated for comments. This was to correct typographical errors in the present document. The US voted to approve with no comments.

An invitation to National Committees was issued to form an Ad-Hoc working group to gather the material for a comprehensive application guide.  This information will then be presented to the Subcommittee at the next general meeting (Israel, October 2009) for approval to write this guide.  Because of the contracted time schedule, most of the work must be done before the “official” writing process starts. Fourteen members have joined (including John Leach).  A full meeting of the Ad-Hoc group has been scheduled for The Netherlands in September.  The intention of MT3 and MT4 had been to have a small group assemble the information for the proposal (the MT3 editing group consisting of Norbert Stein, Phil Rosen, Wilhelm Rondeel, Stephane Melquiond, and John Leach).  Therefore, in preparation for the fall meeting, the editing group (without Stephane) met in Nottingham, England during the week of May 5th (because John was going to be in the UK at the time).  Cooper Bussmann hosted the meeting, so Harold Handcock also attended.  An outline of the proposed document was developed, consisting of a table of contents and sections from existing application documents (both IEC and IEEE) identified as being possible material for each clause and subclause. The intent is to circulate a large rough draft to the AHG by August 1st.

John Leach

TA for TC32 and SC32A

Attachment B Project Status

| HVFSC PROJECT STATUS – May 2008 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Document ID | PAR Number | PAR EXP. DATE | Contact Person | Status |
| C37.40-2003 | None |  | J. G. Leach-WG Chair (828) 256 3744 J. G. Leach-HVF Subcom. Chair (828) 256-3744 | No activity. |
| C37.41-2000 | PC37.41 | 12/31/08 |  | Ballot comment resolution. |
| C37.48-2005 | None |  |  | No activity. |
| C37.48.1-2002 | None |  |  | Re-affirmed 3-27-08 |
| C37.42-1996 Transferred from NEMA | PC37.42 | 12/31/11 | M. Stavnes – WG Chair (773) 338-1000 J. G. Leach – HVF Subcom. Chair (828) 256-3744 | Draft 7 completed. |
| C37.43 New document from NEMA | PC37.43 | 12/31/08 |  | Submitted to RevCom. |
| C37.45-1981 Transferred from NEMA | PC37.45 |  |  | Published |
| C37.46-2000 Transferred from NEMA | None |  |  | PAR to be requested. |
| C37.47-2000 Transferred from NEMA | None |  |  | PAR to be requested. |
| C37.53.1-1989 Transferred from NEMA | PC37.53.1 |  |  | Parts incorporated into C37.41 revision. PAR withdrawn. |

Current HVF Subcommittee members:

G. R. Borchardt	F. Calderon	R. L. Capra  	G. Haynes

F. G. Ladonne	J. G. Leach	J. R. Marek	F. J. Muench

R. N. Parry	J. S. Schaffer	M. Stavnes	J. Zawadzki

Corresponding members

J.G. Angelis

L.R. Beard

H. E. Foelker

S. P. Hassler

R. Ranjan

T. E. Royster