- Scope – Trey White

  - Test Methods for wind loading of vertical break switches

  - Define Voltage 123kV and above

  - Type of Switch vertical break

  - Outdoor mounted horizontal upright

  - Remain in the open position with usual service conditions winds or user specified value.

As proposed,

“Scope

The recommended test methods within this standard apply to high-voltage, non-enclosed, horizontally mounted, vertical break, air switches rated at 123kV and above that are designed to meet the following conditions:

- Remain in the open position with usual service condition winds

- Remain in the open position at wind speeds as defined by the user

This includes such switch types as disconnect, horn-gap, fault-initiation, interrupter, and ground for manual or power operation.”