Report of C37.66 Working Group

Capacitor Switches Subcommittee

(Orlando, FL; May 2008)

The Working Group met on Wednesday, May 21, 2008 at 8:00 AM.  There were 9 members of the working group and 15 guests present at the meeting.  Harry Hirz, Working Group Chairman, presided over the meeting.

The group focused on the following topics:

- 1.) Revision Details & Requirements

- Standard Revision Due 2010

- Project Authorization Request (PAR) – To be completed at next meeting

- Establishing new Working Group – Sign up and Working Group Chair established

- 2.)  Standardization Goals for next Revision

- Harmonize with C37.100.1 format

Action Item:

Randy Dotson and Kirk Smith to make comparison of C37.66 and C37.100.1 to identify potential conflicts and areas for additional review by clause.

Due: End of August 2008

- Review capabilities and interest for dual logo

Action Item:

Edgar Dullni to review C37.66 to identify potential areas of conflict and further review from an internal point of view to help determine the potential interest and work associated with moving the standard to a dual logo.

- Due: End of August 2008

- 3.) Reviewed Feedback from User, Manufactures and Labs which included the following:

- The need to add clarification for the use and location of the 2 new rating classes because of the potential misconception that the pole top switches can not be used in stations.

- Discussion including putting additional user support information associated with the impact of harmonics.

- Discussion occurred on the need and value of the 1200 operations required.

- 4.) Reviewed carryover items from previous ballot

Action Item:

Harry Hirz is to circulate carryover items to those who made them to confirm they are still valid.

- Due: End of June 2008

- 5.) The following are the new items:

- Harry Hirz to setup working group website before next meeting in October 2008.

- Harry Hirz

- Working Group Chairman, C37.66

- Standard Requirements for Capacitor Switches for Alternating-Current Systems Subcommittee

- May 29, 2008