## Slide 1
Experiment for VR Sickness by Motion-to-Photon (MTP) Latency
Lim, Hyun Kyoon, Ph.D. (contact: hlim@kriss.re.kr)
Moonyoung Kwon, Kyoung-Mi Jang , Sun Gu Nam, Da Mee Kim
Korea Research Institute of Standards and Science (KRISS)

## Slide 3: Hurdles for Adoption of VR

## Slide 4: VR Sickness from

## Slide 5: Latency in HMD

## Slide 6: Related Works (Latency and VR sickness)
Previous studies of VR sickness by latency investigated using subjective measurements (SSQ, FMS)
Our lab studies the impact by using objective information (EEG)
Stauffert et al., 2020

## Slide 7: Previous works in Our Labs

## Slide 8: Previous works
Move head left and right following visual cue (red ball)
Field of view (FOV): 80°
Head movement speed: 80 °/s.
Forced latency: 0, 15, 30, 45, and 60 ms Each trial lasts 2 min
Device (innate) latency + 60 ms (forced latency )

## Slide 9: Modified Task
Problem
  Aim: movement → video delay
  Previous task: video → movement
  → Less VR sickness by focusing red ball
Correction
  Visual stimulus (FOV)
    Moving red ball → Fixed bars
  Neck movement (Speed)
    Following visual cue → matched to auditory cue
  → Evoked VR sickness by MTP latency

## Slide 10: Modified Task
40°
40°
Neck movement
  80°/sec
Beep sound
  Every second
  To limit movement speed
Added latency
  0 (only innate), 30, 60 ms
Beep
Beep

## Slide 11: Experiment Videos
Only device latency
Device latency + 200 ms
To help your understand, the latency (200 ms) was used for video recording
We do not conduct experiment using additional latency of 200 ms

## Slide 12: Composition of Video
Stage 1
  Black background
  Effect of head movement
Stage 2
  Sky, ground
  Low complexity
Stage 3
  Sky, ground, trees
  High complexity
Stage 1
Stage 2
Stage 3

## Slide 13: In the Next Meeting,
Current Steps
Modify VR Videos
Fix Experimental Procedure
Conduct Experiment with EEG
Analysis of EEG Changes by MTP Latency
VR Video Evaluation
Please give any comments for the videos to us

## Slide 14: Upgrade MTP Latency Measurement System (3 Degree of Freedom)
Head mounted display (HMD)
<Drawing of Design>

## Slide 15: Normal Range of Neck Motion
Yaw
(-72° to +72 °)
Pitch
(-50° to +60 °)
Roll
(-45° to +45 °)

## Slide 16: Photosensor in the Measurement System
Photosensor

## Slide 17: Diagram of Device MTP Latency Measurement
Seo et al., Sensors 2017

## Slide 18
Thank You