IEEE P802.15

Wireless Personal Area Networks

| Project | IEEE P802.15 Working Group for Wireless Personal Area Networks (WPANs) |  |
| --- | --- | --- |
| Title | Body Area Network (BAN) Technical Requirements |  |
| Date Submitted | [19 September, 2007] |  |
| Source | [Bin Zhen, NICT] [Maulin Patel, Philips] [SungHyup Lee, KORPA] [EunTae Won, Samsung] | E-mail: [zhen.bin@nict.go.jp] [maulin.patel@philips.com] [shlee@korpa.or.kr] [etwon@samsung.com] |
| Re: | [Body Area Network (BAN) Technical Requirements document] |  |
| Abstract | [BAN Technical Requirements] |  |
| Purpose | [This working document has been prepared to be a BAN Technical Requirements documentation |  |
| Notice | This document has been prepared to assist the IEEE P802.15. It is offered as a basis for discussion and is not binding on the contributing individual(s) or organization(s). The material in this document is subject to change in form and content after further study. The contributor(s) reserve(s) the right to add, amend or withdraw material contained herein. |  |
| Release | The contributor acknowledges and accepts that this contribution becomes the property of IEEE and may be made publicly available by P802.15. |  |

Table of Contents

1.0 Introduction	3

2.0 BAN Technical Characteristics summary	3

3.0 Topology	3

4.0 Bit Rate	4

5.0 Range	4

6.0 Security	4

7.0 Quality of service (QoS)	4

8.0 Power Consumption	5

9.0 Coexistence and Interference Resistance	5

10.0 Form Factor	5

11.0 Antenna	5

12.0 Complexity	6

13. Mobility	6

14. Specific absorption rate (SAR)	6

15. Regulatory matters	6

# 1.0 Introduction

This document provides the technical content for the project to develop PHY and MAC of Body Area Network. This document associated with the corresponding selection criteria document will be guidance on how to respond to a call for proposals.

This document serves two purposes. It is first a summary of the application presentations from the Study Group BAN Call for Applications. Second, it defines the fundamental requirements implied by applications but not necessarily stated explicitly.

- ref. 15-07-0735-03-0ban-application-requirement-analysis.xls

- ref. 15-07-xxxx-00-0ban-usage-model.doc

# 2.0 BAN Technical Characteristics summary

The intended standard will define the PHY and MAC layers for short range, wireless communication in the body area. The standard aims to support a low complexity, low cost, ultra-low power and highly reliable wireless communication for use in close proximity to, or inside, a human body (but not limited to humans) to satisfy an evolutionary set of entertainment and healthcare services. The project will address the requirements to support sensor, control and peripheral networks in multiple compliant co-located systems and also coexistence.

Anticipated high-level characteristics of the PHY layer are summarized as follows.

- The link throughput shall not exceed some tens of kb/s in most of the cases. But it can be extended up to 10 Mbps;

- The power consumption must allow for self powered operating time without intervention during several months to several years;

- QoS, robustness and interference resistance are key features;

- Minimization of SAR into the body to satisfy the local regulatory;

Specific detailed requirements associated with these characteristics are described in the sections that follow.

# 3.0 Topology

The standard shall support all types of logical topologies including star, tree, and mesh defined 802.15.5.

The network configuration has to be highly dynamic. Thus the network must be workable without requiring complex static set up procedure and must comply with dynamic insertion and de-insertion of nodes into a network.

The network component may be in close proximity to, or inside, a human body.

Typical applications imply data collection by a unique or a set of coordinated data collectors. Thus the corresponding network component may have to sustain a much higher throughput than the ones of the other nodes. The network component must be able to maintain bidirectional links.

# 4.0 Bit Rate

The bit rate is categorized the following way:

- individual link bit rate. This is related to a peer to peer link, typically between a device and an information collector or between two devices.

- aggregated bit rate. This is typically the bit rate concentrated from many devices to a data collector during a short period of time (can be during specific situations when many devices need to update their information at the same time like alarm or emergency situations). The data collector must be capable of acquiring at least 1 Mb/s of effective data.

Typical selected figures:

- Link bit rate: at least 10 kb/s at PHY-SAP.

- Aggregated bit rate (data collector only): at least 1 Mb/s at PHY-SAP.

# 5.0 Range

The maximum distance between communicating nodes is generally 0 to 3 meters. In some cases, example case, the range has to be extended to 5 meters.

# 6.0 Security

The security shall be equal to or stronger than those specified by IEEE 802.15.4 standard.

# 7.0 Quality of service (QoS)

The critical factor is the reliability of the transmission, meaning that strong error correction methods need to be provided at PHY level.

Other QoS parameters have a strong impact on PHY layer:

- Support of real time communication is required,

- Capability to provide fast reaction in emergency situations and alarm message.

# 8.0 Power Consumption

The device (complete communication system including PHY and MAC) must operate while supporting a battery life of months or years without intervention.

Therefore very efficient power saving mode is desirable, in particular for devices that transmit sporadically. In addition the coordination of nodes must not induce frequent wake up of nodes. These mechanisms must be supported by the PHY layer.

# 9.0 Coexistence and Interference Resistance

The devices may need to operate in an interference environment by having attributes to deal with interference ingress (interference coming into the PHY layer) and interference egress (interference caused by the PHY layer). The attributes may be adjusted by higher layer (above PHY layer) management.

The devices must be able to operate in high noise and high multipath environment. The PHY layer must be able to sustain an appropriate level of co-channel and out-of-band interference. Both medical application in hospital, small clinic, healthcare center and home and wearable entertainment applications have to be considered.

# 10.0 Form Factor

The alt-PHY components should be capable of fitting into a form factor consistent with wearable and implant applications. The critical point is that this generally includes the battery and the antenna parts.

# 11.0 Antenna

Non-directional antenna is the nominal requirement. This is due to the presence of a person, changes in characteristics as a result of the user motions, and the impossibility to predict the position of a device antenna. The antenna must be very robust.

# 12.0 Complexity

Complexity should be minimal to enable mass commercial adoption for a variety of cost sensitive products. Complexity (gate count, die size) and BOM shall be minimized. In a number of applications, the components are to be considered as throwaway after use.

# 13. Mobility

Nodes shall be capable of reliable communication when in the move. It is admitted that limited communication performance (e.g. data rate) can be tolerated in such cases. The considered applications may involve xxxxxx.

# 14. Specific Absorption Rate (SAR)

Since the device may be in close proximity to, or inside, a human body, the SAR into the body must be minimized.

# 15. Regulatory Matters

The transmit spectrum mask (measured by EIRP or ) at PHY layer will comply with necessary geopolitical or regional regulations.