Table 1: An early draft of BAN requirements

•Distance                                 2 m std, 5 m special

•Piconet density                          256(?) nets / m2

•Devices per network                  256(?)

•Net network throughput             10 Mbits per second (maximum)

•Power consumption                    ~ 1mW/Mbps(@ 1 m distance)

•Latency (end to end)                   10 ms

•Network setup time                    < 1 sec(after initial setup, per device)

•Emergency Mode                        20 mW, 20 m range

Source: Astrin Radio