IEEE P802.15

Wireless Personal Area Networks

| Project | TG Medical Body Area Networks |  |
| --- | --- | --- |
| Title | TG4j Plenary Meeting Minutes Singapore March 2011 |  |
| Date Submitted | 22 March 2011 |  |
| Source | [Dave Evans] [Philips] [Redhill, UK] | Voice: [+44-1737-788216] Fax: [] E-mail: [david.evans@philips.com] |
| Re: | TG4j Plenary Meeting Minutes, Singapore, March 2011 |  |
| Abstract | Minutes of TG 4j in Singapore |  |
| Purpose | Minutes of TG4j sessions |  |
| Notice | This document has been prepared to assist the IEEE P802.15. It is offered as a basis for discussion and is not binding on the contributing individual(s) or organization(s). The material in this document is subject to change in form and content after further study. The contributor(s) reserve(s) the right to add, amend or withdraw material contained herein. |  |
| Release | The contributor acknowledges and accepts that this contribution becomes the property of IEEE and in November be made publicly available by P802.15. |  |

Marina Bay Sands, Singapore

March 14-17, 2011

Monday, 14 March 2011, AM1 slot

The chair Ray Krasinski opened the meeting at 08:04.

This is the 2nd session for TG4j MBAN.

The agenda for the week was presented. There were no objections so this was accepted.

The chair went through the opening report, document number 15-11-0187.

There was a discussion on whether to extend the period for submitting responses to the Call for Applications. Any decision on this was deferred until Thursday.

Since we are not at the proposal phase, the TG does not yet need to assign a technical editor.

The timeline was updated to reflect the 2 month shift/deferment as a result of issuing the Call for Applications that was not in the original plan.

There were no objections to removing the line on “merge proposals.”

It was noted that proposal selection is the same as evaluating the proposals.

The 1st Letter Ballot will now commence September 2011 and it is expected that the 4j Amendment will be accepted in July 2012.

The chair presented document number 15-11-0163 in response to the Call for Applications on behalf of the submitters who could not attend the session.

It was noted that asset tracking may worry the FCC due to devices moving out of hospital. Also RFID is not in the scope of TG4j.

The Doctor Dialog Assistance is a collator of sensor data and this is believed to be in scope.

Ultrasound can be a body sensor and as such may also be in scope.

The meeting recessed at 09:25.

### Wednesday, 16 March 2011, AM1 slot

Chair opened the meeting at 08:10.

There was a brief review of the agenda for this slot.

Document number 15-11-0157 was presented in response to the Call for Applications.

The video that is mentioned here could be either for Electronic Health Records or for ultrasound, the latter being sensor based.

Document number 15-11-0156 was presented in response to the Call for Applications.

Concern is expressed about sensor saturation on a patient and how we handle the ever increasing usage of devices.

It was noted that the proposed use of 10 MBANS networks could be proportionate to the number of patients in a ward.

The chair goes through the Technical Requirements document number 15-11-0064-00 and reminds TG4j that the FCC has not yet issued the MBAN Rules and at the present time there are only proposed Rules.

Some concern is expressed about the lack of channels in the MBAN band when using 5 MHz channels. It is noted that the MBAN and ISM bands can be treated one band by a 15.4 PHY if this is done and that this allows the use of existing silicon as mentioned in the “Additional Notes” in the PAR.

A statement was added to the Technical Requirements document that each proposal shall have a channelization plan.

The chair closed the meeting at 09:35

Thursday, 17 March 2011, AM1 slot

Chair opens the meeting at 08:05.

The agenda for this meeting was reviewed.

Chair notes that the next step for TG4j is to issue a Call for Proposals and there were no objections to proceeding with this.

The call will consist of an initial call for preliminary proposals for May and then a call for full proposals in July.

Document number 15-11-0276 was presented indicating a need for a change in the Technical Requirements document number 15-11-0064-01 to allow support for medical images transmission to nearby monitors.

There was a discussion on the changes to the Technical Requirements document and an additional bullet was added to PHY section.

In addition, the first bullet in the PHY section was changed to address the amount of reusability of existing 802.15.4 implementations.

A small editorial change was made to the MAC section.

The reference to 802.15.4 was changed to “current revision.”

The Technical Requirement document number 15-11-0064-02 was accepted unanimously.

The chair went through the text of the Call for Proposals and there was agreement that the call should proceed as scheduled.

The plan for next meeting was noted by the chair.

The chair closes the meeting at 09:45.

Thursday, 17 March 2011, AM2 slot

The meeting was opened at 10:35 to do closing report then closed.