IEEE P802.15

Wireless Personal Area Networks

| Project | TG Medical Body Area Networks |  |
| --- | --- | --- |
| Title | TG4j Plenary Meeting Minutes San Diego July 2012 |  |
| Date Submitted | 24 July 2012 |  |
| Source | [Dave Evans] [Philips, 101 Cambridge Science Park, Cambridge, CB4 0FY, UK] | Voice: [+44-1293-886490] Fax: [] E-mail: [david.evans@philips.com] |
| Re: | TG4j Plenary Meeting Minutes, San Diego, July 2012 |  |
| Abstract | Minutes of TG4j in San Diego |  |
| Purpose | Minutes of TG4j meeting slots |  |
| Notice | This document has been prepared to assist the IEEE P802.15. It is offered as a basis for discussion and is not binding on the contributing individual(s) or organization(s). The material in this document is subject to change in form and content after further study. The contributor(s) reserve(s) the right to add, amend or withdraw material contained herein. |  |
| Release | The contributor acknowledges and accepts that this contribution becomes the property of IEEE and in November be made publicly available by P802.15. |  |

Hyatt Grand Manchester, San Diego

16th – 19th July, 2012

#### Monday 16th July 2012, PM1 slot

Chair opened the meeting at 13:40.

Chair goes through the IEEE patent policy.

The minutes of the Atlanta Interim meeting where approved by unanimous consent.

The agenda for this session was reviewed and approved by unanimous consent.

Chair gives the opening report and notes that we have 98 comments that are outstanding, all on coordinator switching.

Chair gives an overview of the recently published FCC’s MBAN Report and Order, document number 15-12-0344-00-004j.

Chair notes that the FCC rules state there must be no direct communication between either hubs or sensors and this would have killed the previous coordinator switching scheme.

There was some discussion on why there is this restriction and what might be the impact. It was not sure whether this restriction also applies to the 2390-2400 MHz band.

Technical editor (TE) notes that the way that the new annex text for the coordinator switch is now written does not cause conflict here.

TG4j considers comment register and it is noted that only some comments on clauses 5 and 6 comments are outstanding.

TE goes through the text for the coordination switching annex. There was a question from Mike McInnis (Boeing) on how to ensure the correct coordinator is selected. The TE replies that a clinician instigates the coordinator switching and supplies the appropriate information to the devices.

Chair asks if there is any objection to accepting the new draft of coordinator switching as resolving all remaining coordinator switch comments. There are no objections.

Chair announces there will be a motion Tuesday, PM1 to accept all remaining open comments as resolved.

TE goes through the new clause 5 text for the channel switch IE. Mike McInnis asks whether this could change channel immediately and the TE replies yes, this is what TG 15.4k required from this IE.

There was a question on whether real time clocks are needed? The TE notes there may be timing issues if the channel switch is defined for a long time in the future and that it is ultimately an issue for the implementer to manage this.

TE states that these texts will be posted to the reflector by the end of the day and the document numbers are 15-12-0371-00-004j and 15-12-0372-00-004j.

The chair goes through the new clause 4 text describing MBANs and there were no comments.

Chair closed the meeting at 14:45

#### Monday 16th July 2012, PM2 slot

Chair opened the meeting at 16:07

Chair presents the updated agenda for the week and notes that several of TG4j slots have been cancelled. The new agenda reflects the planned TG motion Tuesday, PM1 to approve all remaining open comments as resolved and to have TG motions to ask the WG to recirculate the letter ballot, update with comments resolved.

Chair closed the meeting at 16:10.

#### Tuesday 17th July 2012, AM1 slot

Chair opened the meeting at 08:12.

Chair describes the possible composition of the BRC for 2nd recirculation Letter Ballot consisting of the chair, TE and principle contributors to the group, including participants from the 2 proposals which were merged to form the letter ballot and substantial contributors to the letter ballot drafting.

Chair goes through the text of the TG4j motions.

Motion 1: Approve the resolution of all comments of: 15-12-0218-13-004j-lb81-comment-register related to Subclause 5 and Subclause 6 as resolving comments on d1P802-15-4j_Draft_Standard.

This was moved by Dave Evans and seconded by Paul Chilton.

There were no objections so the motion passed by unanimous consent.

By agreement on this motion all comments to the letter ballot are resolved.

Motion 2: That 802.15.4j Task Group approves d2802-15-4j_Draft_Standard.pdf and requests that 802.15 WG recirculate d2802-15-4j_Draft_Standard.pdf.

This was moved by Dave Evans and seconded by Liang Li.

There were no objections so the motion passed by unanimous consent.

Motion 3: Move that the 802.15.4j Task Group seek 802.15 WG approval of the formation of a Ballot Resolution Committee for the Recirculation Letter Ballot of d2P802-15-4j_Draft_Standard. The committee will be chaired by Ray Krasinski.

This was moved by Dave Evans and seconded by Art Astrin.

There were no objections so the motion passed by unanimous consent.

Chair closed the meeting at 08:45.

#### Wednesday 18th July 2012, PM2 slot

Chair opens the meeting at 16:05.

Chair notes that this is a discussion meeting between WG 802.15 and IEEE 11073 and includes participation by TG4n and participants in 802.15.6.

Chair introduces Ken Fuchs the secretary of 11073 whose affiliation is Mindray.

There was a round table introduction by the 20+ participants in this slot.

Ken Fuchs gives his presentation on Medical Device Interoperability and Relevant Standards Efforts document number 15-12-0413-00-004j titled IEEE 11073 Presentation to 802.15 2012-07-18.

Anuj Batra (TI) notes that 802.15.6 was designed to be low power and asks if 11073 have considered this? Ken Fuchs notes that Continua was concerned about this i.e. the overhead of 11073. A branch of 11073 has considered low power for example the base framework protocol 11073-20601. It is not known if this branch is sufficiently low power to meet the needs of wireless medical applications.

Art Astrin asks how successful is 11073, i.e. how many pulse oximeters are on the market? It is suggested that most are 11073 compliant.

Art mentions that in the past there was a liaison agreement between 15.4 and 11073. This has gone dormant in recent years but it may be possible to revive this agreement.

In conclusion it was agreed to give 11073 some key parameters of 802.15.4 and 802.15.6 such as packet sizes, to indicate the need to conserve power and that there must be no verbose messages.

Concerning whether, and if so at what level, a liaison should take place it was agreed that a liaison agreement should be considered and this should be at the WG level since this will cover several task groups.

Chair closes the meeting at 17:40.

#### Thursday 19th July 2012, PM1 slot

Chair opened the meeting at 13:36.

TE goes through the complete text for the TG4j amendment draft 2.

There were a few comments and questions but nothing that required any changes to the text.

Chair then looked at the next steps for TG4j, the two motions to the WG asking to go to recirculation Letter Ballot that will be considered at the WG15 closing plenary and the timetable.

The first motion is “Move that the WG approve the start of a recirculation ballot to forward the d2802-15-4j_Draft_Standard.pdf to Sponsor Ballot.”

This will be moved by Liang Li and seconded by Ray Krasinski.

The second motion is “Move to authorize Raymond Krasinski, David Evans, Shannon Park, Suhwook Kim, James Gilb, and Paul Chilton as the 802.15.4j Ballot Resolution Committee chaired by Raymond Krasinski; said committee to expire at the beginning of the September 2012 802.15 Wireless Interim Session. The Ballot Resolution Committee is authorized to approve the resolutions to comments received from recirculation of the 15.4j draft and to approve the start of another recirculation of the 15.4j draft on behalf of the Working Group. Comment resolution on Recirculations between sessions will be conducted via reflector email and via teleconferences announced to the reflector at least 7 days in advance.”

This will be moved by Dave Evans and seconded by Art Astrin.

It is still the plan to go to sponsor ballot in September.

Chair closed the meeting at 14:11

### Thursday 19th July 2012, PM2 slot

Chair opened the meeting at 16:03.

Chair ran through the closing report.

Chair asks if there was any other business and there was none.

Chair closed the meeting at 16:07.