## Slide 1
Project: IEEE P802.15 Working Group for Wireless Personal Area Networks (WPANs)
Submission Title: Propagation Characteristics of UWB Communication Applications Including Medical Implants, BCI and Passengers Bus
Date Submitted: September 12th, 2022
Source: Daisuke Anzai, Nagoya Institute of Technology
Address Gokiso-cho, Showa-ku, Nagoya, 466-8555, Japan
Voice: +81-52-735-5389, FAX: +81-52-735-5389, E-Mail: anzai@nitech.ac.jp
Re: In response to call for technical contributions
Abstract: This provides of path loss characteristics of UWB communication applications including medical implants, BCI, and passengers bus.
Purpose: Material for discussion in P802.15.6a TG corresponding to comments in EC Meeting
Notice: This document has been prepared to assist the IEEE P802.15. It is offered as a basis for discussion and is not binding on the contributing individual(s) or organization(s). The material in this document is subject to change in form and content after further study. The contributor(s) reserve(s) the right to add, amend or withdraw material contained herein.
Release: The contributor acknowledges and accepts that this contribution becomes the property of IEEE and may be made publicly available by P802.15.

## Slide 2: Propagation Characteristics of UWB Communication Applications Including Medical Implants, BCI and Passengers Bus
Daisuke Anzai
Nagoya Institute of Technology

## Slide 3: Background of implant communications

## Slide 4: UWB antenna at 3.1 - 10.6 GHz band

## Slide 5: Simulation model
Transmitted signal waveform
Transmit antenna
Measurement
point
#1
#2
#11
…
…
#10

## Slide 6: Antenna direction
Antenna direction: x-axis
Antenna direction: y-axis
Antenna direction: z-axis

## Slide 7: Dielectric constants of human model
Relative permittivity
Conductivity

## Slide 8: Path loss analysis results
Transmitting antenna | Received components | PL0 [dB] | n
x | x y z | 109.8 100.8 118.5 | 2.22 3.12 1.23
y | x y z | 103.9 85.3 101.4 | 0.85 3.02 2.16
z | x y z | 87.2 68.2 84.7 | 0.91 3.27 2.23

## Slide 9: Path loss analysis results

## Slide 10: Frequency dependency of path loss characteristics

## Slide 11: Frequency dependency of path loss characteristics

## Slide 12: Simulation model for passengers bus
Setting A

## Slide 13: Frequency spectrum

## Slide 14: Path loss characteristics
Setting A

## Slide 15: Another situation in bus model
Setting B
Setting C

## Slide 16: Path loss analysis results
Setting B
Setting C

## Slide 17: Path loss analysis for HBAN to VBAN link
VBAN #1
VBAN #2
VBAN

## Slide 18: Path loss of a link from HBAN to VBAN
VBAN #1
VBAN #2

## Slide 19: References
Y. Shimizu, D. Anzai, R. C-Santiago, P. A. Floor, I. Balasingham, and J. Wang, “Performance evaluation of an ultra-wideband transmit diversity in a living animal experiment” IEEE Trans. Microw. Theory Tech., vol. 65, no. 7, pp. 2596-2606, July 2017.
D. Anzai, K. Katsu, R. Chavez-Santiago, Q. Wang, D. Plettemeier, J. Wang, and I. Balasingham, “Experimental evaluation of implant UWB-IR transmission with living animal for body area networks,” IEEE Trans. Microw. Theory Tech., vol. 62, no. 1, pp. 183-192, Jan. 2014.
J. Shi, D. Anzai, and J. Wang, “Channel modeling and performance analysis of diversity reception for implant UWB wireless link,” IEICE Trans. Commun., no. E95-B, vol. 10, pp. 3197-3205, Oct. 2012.