## Purchaser 1
[22 empty] | Issued for use by: | [13 empty] | Sheet 1 of 3 | [8 empty] | DOCUMENT NO.
IEEE 1566 - MEDIUM VOLTAGE ADJUSTABLE SPEED DRIVES ELECTRICAL DATA SHEET
JOB NO. | [20 empty] | ITEM / TAG NO.
PURCHASE ORDER NO.
REQ. / SPEC. NO.
REVISION NO. | [15 empty] | DATE | [15 empty] | BY
1 |  | FOR/USER | [37 empty] | EQUIPMENT
2 |  | SITE/LOCATION | [37 empty] | MANUFACTURER
3 |  | REFERENCE SLD | [37 empty] | SUPPLIER PROJECT NO.
4 |  | Applicable To: | [10 empty] | Proposal | [12 empty] | Purchase | [9 empty] | As built
5 |  | NOTE: | [6 empty] | DATA SHEET STATUS | [9 empty] | INDICATES INFO. TO BE COMPLETED BY PURCH. | [16 empty] | TO BE COMPLETED BY MANUFACTURER
ANNEX A, SHEET 1 OF 3 — TO BE COMPLETED BY THE PURCHASER
6 |  | System of Units: | [10 empty] | SI | [5 empty] | SI plus US standard | [21 empty] | Harmonics (6.2, 6.16):
7 | [40 empty] | Impedance versus frequency data supplied at PCC? | [18 empty] | Yes |  |  |  | No
8 |  | Supply System Voltage (6.1, 6.6): | [38 empty] | Point of common coupling (PCC): | [13 empty] | Voltage at PCC: | [10 empty] | V
9 |  |  |  |  | 2400V |  |  |  |  | 3300V | [5 empty] | 4160V | [6 empty] | 6600V | [5 empty] | 6900V | [5 empty] | 13800V | [5 empty] | Required telephone influence (I.T) at PCC:
10 | [5 empty] | Other: | [5 empty] | V |  | ± | [5 empty] | % | [20 empty] | Average Demand Current (IL):
11 |  | 3 ɸ Short-Circuit Level: | [14 empty] | kA at PCC | [10 empty] | at drive | [12 empty] | Other harmonic requirements:
12 | [5 empty] | Line Frequency: | [10 empty] | 60Hz | [6 empty] | 50Hz | [16 empty] | Harmonic Compliance to IEEE 519: | [16 empty] | Yes |  |  |  | No
13 |  | 3 ɸ Short-Circuit Level: | [14 empty] | kA | [10 empty] | at drive | [12 empty] | Harmonic Compliance to IEC 61000-3-6: | [16 empty] | Yes |  |  |  | No
14 | [5 empty] | Line Frequency: | [10 empty] | 60Hz | [6 empty] | 50Hz | [16 empty] | If 'No' to both of the above, state voltage THD requirement at PCC:
15 |  | 3 ɸ Symmetrical Short-Circuit Level at Drive Input for Arc Flash Calculations:
16 | [6 empty] | Maximum kA | [13 empty] | Minimum kA | [8 empty] | Duration: | [8 empty] | ms |  | System Grounding (6.5):
17 | [40 empty] | System Ground method: | [6 empty] | Solid | [5 empty] | Resistance at: | [8 empty] | A
18 |  | ASD Auxiliary Three-Phase Power (6.1): | [45 empty] | Other:
19 |  | 60Hz: | [6 empty] | 208V |  |  |  |  | 480V | [6 empty] | 600V | [6 empty] | Other: | [5 empty] | V | [6 empty] | Ground fault detection provided in upstream switchgear: | [20 empty] | Yes |  |  | No
20 |  | 50Hz: | [6 empty] | 400V |  |  |  |  | Other: | [8 empty] | V
21 | [40 empty] | Relevant National/Local Codes (4.1):
22 |  | Control Power (7.1):
23 | [5 empty] | From Input | [7 empty] | UPS | [6 empty] | Battery | [7 empty] | Voltage | [7 empty] | V
24 | [5 empty] | Redundant Control Power Supplies: | [21 empty] | Yes |  |  |  |  | No
25 | [5 empty] | UPS or Battery Supplied by: | [17 empty] | Vendor | [6 empty] | Purchaser | [9 empty] | Site Environment (1.3):
26 | [40 empty] | Site Location:
27 |  | ASD Continuous Rating (6.3): | [38 empty] | Seismic Zone: |  |  |  | No |  |  | Yes, Zone:
28 |  | ASD Continuous Rating (percentage of motor full load rating) | [38 empty] | Outdoor Ambient Temperature: | [11 empty] | ᵒC (Max) | [7 empty] | ᵒC (Min)
29 | [5 empty] | 100% |  |  |  |  | 110% | [7 empty] | Other: | [8 empty] | % | [12 empty] | Electrical Room Ambient Temperature: | [15 empty] | ᵒC (Max) | [5 empty] | ᵒC (Min)
30 |  | ASD Short Term Overload | [38 empty] | Elevation: |  |  | metres (ASL) | [7 empty] | Humidity: | [7 empty] | % non-condensing
31 |  |  |  | Magnitude as a percentage of drive continuous rating | [36 empty] | Contamination:
32 | [7 empty] | 110% |  |  |  |  | 150% | [7 empty] | Other: | [7 empty] | % | [11 empty] | Control Room Dust Level: | [7 empty] | ppm3
33 |  |  |  | Duration of short term overload | [36 empty] | Cabinet Space Heater (15): | [7 empty] | No | [5 empty] | Yes |  |  |  |  | V
34 | [7 empty] | 60 seconds | [10 empty] | Other: | [21 empty] | ASD to be mounted in a pre-fabricated building: | [17 empty] | Yes |  |  |  | No
35 |  |  |  | Duty cycle of short term overload | [36 empty] | Building Reference Specification:
36 | [7 empty] | 60 seconds | [10 empty] | Other: | [21 empty] | Electronic circuit boards have conformal coating applied (11.2): | [18 empty] | Yes |  |  |  | No
37 | [40 empty] | Enclosure (4.2.1):
38 |  |  | Load/Application Requirements: | [38 empty] | Indoor, IP21 |  |  |  | Other, Specify:
39 |  |  | Type of Load: | [8 empty] | Fan | [6 empty] | Pump | [7 empty] | Compressor | [13 empty] | Incoming & Load Cable Details
40 | [11 empty] | Other: | [29 empty] | Incoming Power Cables: | [7 empty] | Top | [6 empty] | Bottom
41 |  |  | Torque Profile: | [8 empty] | Variable | [8 empty] | Constant | [21 empty] | Size: | [5 empty] | Number per Phase:
42 | [11 empty] | Other: | [29 empty] | Motor Cables: |  |  |  | Top |  |  |  |  | Bottom
43 |  |  | Gearbox Ratio: | [10 empty] | to | [10 empty] | None | [17 empty] | Size: | [5 empty] | Number per Phase:
44 |  |  | Motor Speed Range: | [14 empty] | min, rpm to | [10 empty] | max, rpm | [12 empty] | Control Cables: |  |  |  |  | Top |  |  |  |  | Bottom
45 |  |  | Max Load Power: | [11 empty] | kW at | [8 empty] | rpm | [17 empty] | Finish: |  |  | Manufacturing Std. | [10 empty] | As Specified
46 |  |  | Load torque/Speed curve provided: | [34 empty] | (ref) | [6 empty] | Outside Colour:
47 | [44 empty] | Inside Colour:
48

## Purchaser 2
[13 empty] | Issued for use by: | [9 empty] | Sheet 2 of 3 | [7 empty] | DOCUMENT NO.
IEEE 1566 - MEDIUM VOLTAGE ADJUSTABLE SPEED DRIVES ELECTRICAL DATA SHEET
JOB NO. | [11 empty] | ITEM / TAG NO.
PURCHASE ORDER NO.
REQ. / SPEC. NO.
REVISION NO. | [7 empty] | DATE | [10 empty] | BY
1 |  | Applicable To: |  |  |  | Proposal | [9 empty] | Purchase | [6 empty] | As built
2 |  | NOTE: |  |  | DATA SHEET STATUS | [5 empty] | INDICATES INFO. TO BE COMPLETED BY PURCH. | [11 empty] | TO BE COMPLETED BY MANUFACTURER
ANNEX A, SHEET 2 OF 3 — TO BE COMPLETED BY THE PURCHASER
3 |  | Redundancy (5.4, 5.6, 5.7): | [23 empty] | Communication Options:
4 |  |  | N-1 Redundancy Rectifier | [9 empty] | N-1 Redundancy Inverter | [14 empty] | DeviceNet Adapter | [6 empty] | RIO Adapter | [8 empty] | ControlNet Adapter
5 |  |  | N-1 Redundancy Module | [9 empty] | No Redundancy | [14 empty] | Modbus | [6 empty] | Modbus Plus
6 | [27 empty] | Other:
7 |  | Voltage Sag Ride-through (6.8): | [23 empty] | Signal Type:
8 |  |  | as per 6.8 |  |  | or dip to | [8 empty] | % nominal for | [6 empty] | ms | [5 empty] | Speed Reference Input | [8 empty] | 4mA to 20mA | [7 empty] | Serial Link
9 | [27 empty] | Speed (Hz) Output | [8 empty] | 4mA to 20mA | [7 empty] | Serial Link
10 |  | Supply voltage ride-through capabilities (6.9): | [25 empty] | Start | [8 empty] | Discrete | [5 empty] | Serial Link
11 |  | ASD nominal operating voltage and frequency tolerance band per: | [25 empty] | Stop | [8 empty] | Discrete | [5 empty] | Serial Link
12 |  |  | 1 | Manufacturer's Standard: | [23 empty] | ASD Run Status | [8 empty] | Discrete | [5 empty] | Serial Link
13 |  |  | 2 | ANSI C84.1: | [23 empty] | ASD Ready Status | [8 empty] | Discrete | [5 empty] | Serial Link
14 |  |  | 3 | IEEE Std. 1250: | [23 empty] | ASD Fault Status | [8 empty] | Discrete | [5 empty] | Serial Link
15 |  |  | 4 | IEC 61000-2-2: | [23 empty] | Emergency Shutdown | [8 empty] | Discrete | [5 empty] | Serial Link
16 |  | Ride-through period: | [6 empty] | cycles | [18 empty] | ASD Warning | [8 empty] | Discrete | [5 empty] | Serial Link
17 |  | Other: | [25 empty] | Other as per attached description:
18 |  | Auto / Flying Restart: |  |  |  |  | Yes | [5 empty] | No
19 |  | Duration of restart capability: | [11 empty] | seconds | [11 empty] | Bypass Operation (7.4):
20 |  | Note: Restart capability requires UPS power supply. | [25 empty] | Yes |  | No
21 | [27 empty] | If Yes, Bypass equipment by: | [11 empty] | Purchaser | [5 empty] | Vendor
22 |  | Noise level (6.18): | [26 empty] | Bypass Starter | [7 empty] | Bypass Breaker
23 | Of drive including the isolating transformer/reactor measured at the factory: | [27 empty] | Synchronous Transfer to Line Frequency (7.4.2, 7.4.3)
24 |  |  | 80 dbA at 1 metre | [6 empty] | Other, Specify: | [7 empty] | dbA | [10 empty] | Output Contactor | [8 empty] | Output Breaker
25 | [25 empty] | Notes:
26 |  | Local Control (7.2):
27 |  |  | ASD Fault Indication | [11 empty] | Local/remote selector switch
28 |  |  | ASD warning indication | [11 empty] | ASD run indication | [10 empty] | Input Transformer/Reactor (8.1.1):
29 |  |  | Start push button | [11 empty] | ASD available indication | [12 empty] | As per standard (8.1.2) | [9 empty] | As per attached specification
30 |  |  | Emergency-stop push button | [11 empty] | Stop push button | [12 empty] | Location: |  |  |  | Indoor |  |  |  |  | Outdoor
31 |  |  | Fault-reset push button | [11 empty] | Other | [11 empty] | Winding Material: | [6 empty] | Copper | [7 empty] | Aluminum
32 |  | Motor Protection relay to be mounted in ASD enclosure: | [17 empty] | Yes |  |  |  | No
33 |  | Type: | [6 empty] | Supplied by: | [16 empty] | Transformer Taps (8.1.3):
34 |  | Transformer Protection relay to be mounted in ASD enclosure: | [19 empty] | Yes |  |  | No |  |  | Yes |  | No
35 |  | Type: | [6 empty] | Supplied by: | [18 empty] | If Yes: |  |  | ±2.5% |  |  |  |  | ±5% | [5 empty] | Other:
36 |  | I/O power quality measurements is required: | [14 empty] | Yes |  |  |  | No | [6 empty] | For outdoor, colour is: | [8 empty] | By Vendor | [6 empty] | Other, Specify:
37 |  | If yes, specify: | [25 empty] | Dry Type |  |  |  |  | Liquid-filled | [6 empty] | BIL
38 |  | Discrete I/O:
39 |  |  | Voltage Rating: | [5 empty] | V |  |  |  | Contact Rating: | [7 empty] | A |  |  |  |  | Motor (9.0):
40 |  |  | Grounded |  |  | Ungrounded | [21 empty] | Induction |  |  |  |  | Synchronous
41 |  |  | Other: | [24 empty] | As per standard (9.1, 9.2, 9.3) | [12 empty] | As per API datasheet attached
42 | [27 empty] | As per attached specification(s):
43 |  | Control – Remote (7.3): | [25 empty] | Location: |  |  |  |  | Indoors | [5 empty] | Outdoors
44 |  |  | 4mA to 20mA isolated analog outputs: | [24 empty] | New or Existing?
45 |  |  |  |  | Speed |  | Current | [7 empty] | All | [12 empty] | FLA: |  |  | A
46 |  |  |  |  | Voltage |  | Load | [20 empty] | Vendor:
47 | [27 empty] | SF:
48 | [27 empty] | Enclosure: | [12 empty] | Voltage:
49

## Purchaser 3
[15 empty] | Issued for use by: | [9 empty] | Sheet 3 of 3 |  |  |  |  | DOCUMENT NO.
IEEE 1566 - MEDIUM VOLTAGE ADJUSTABLE SPEED DRIVES ELECTRICAL DATA SHEET
JOB NO. | [13 empty] | ITEM / TAG NO.
PURCHASE ORDER NO.
REQ. / SPEC. NO.
REVISION NO. | [10 empty] | DATE | [11 empty] | BY
1 |  | Applicable To: | [5 empty] | Proposal | [9 empty] | Purchase | [6 empty] | As built
2 |  | NOTE: |  | DATA SHEET STATUS | [7 empty] | INDICATES INFO. TO BE COMPLETED BY PURCH. | [12 empty] | TO BE COMPLETED BY MANUFACTURER
ANNEX A, SHEET 3 OF 3 — TO BE COMPLETED BY THE PURCHASER
3 |  | Motor (9.0, Continued): | [23 empty] | Shipping, Storage and Handling (15.0):
4 |  | Base Frequency: | [6 empty] | 60 Hz |  |  |  |  | 50 Hz | [5 empty] | Other | [5 empty] | Storage Temperature: | [5 empty] | ᵒC
5 |  | Base Speed: |  |  |  |  | rpm | [18 empty] | Storage: |  | Indoor |  |  | Outdoor
6 |  | Min Speed: |  |  |  |  | rpm |  |  |  |  | Max Speed: | [8 empty] | rpm |  |  |  |  | There are special shipping, handling and storage requirements for the equipment that vary from those in the standard shipping, handling and storage documentation provided with the equipment:
7 |  | Space Heater:
8 |  | Motor rated to start on bypass: | [11 empty] | Yes |  |  |  |  | No
9 |  | RTDs: |  |  | per phase | [8 empty] | per bearing (required if drive monitors RTDs) | [12 empty] | Yes |  | No
10 |  |  | 100 Ω platinum | [6 empty] | 100 Ω nickel | [7 empty] | 10 Ω copper | [5 empty] | 120 Ω nickel |  | Details:
11 |  | Motor located in classified location: | [14 empty] | Yes |  |  |  | No
12 |  | If Yes, Specify Temperature Code:
Area Classification___________________________________
13 |  | Breakaway Torque:
14 |  |  | 0% - 100% | [10 empty] | As per speed/torque curve supplied
15 |  |  | 101% - 150% | [22 empty] | Extended Storage and measures to be undertaken by the ASD manufacturer to prevent any condensation and humidity inside the packed ASD:
16 |  |  | > 150%
17 |  | Speed Regulation | [8 empty] | Torque Mode | [15 empty] | Yes |  | No
18 |  |  |  |  | % | [8 empty] | Monitoring | [6 empty] | Regeneration |  |  |  |  | Details:
19 | [13 empty] | Reversing
20
21 |  | Input ASD Switchgear (10.2):
22 |  |  | Yes |  |  | No
23 |  |  | Input starter with vacuum contactor and fused isolating switch | [22 empty] | Services (Annex D):
24 |  |  | Input breaker | [23 empty] | Harmonic modeling analysis | [5 empty] | Factory training
25 |  |  | Other, Specify: | [23 empty] | Torsional modeling analysis | [5 empty] | Onsite training
26 | [26 empty] | Other:
27 |  | ASD Cooling Methods (11.1):
28 |  |  | Air-Cooled (11.2) | [22 empty] | Nameplate Data:
29 |  |  | Fan Redundancy Required: | [14 empty] | Yes |  |  |  | No |  |  |  | Tag Number:
30 |  |  | Provision for ducting exhaust air: | [14 empty] | Yes |  |  |  | No |  |  |  | Nameplate Lettering Line 1:
31 | [25 empty] | Nameplate Lettering Line 2:
32 |  |  | Liquid-Cooled (11.3) | [22 empty] | Nameplate Lettering Line 3:
33 |  |  | Water-air heat exchanger | [11 empty] | Water–water heat exchanger
34 |  |  | Pump redundancy required: | [12 empty] | Yes |  |  |  | No
35
36 |  | Testing (14.2):
37 |  | Motor Tests (14.3)
38 |  | Motor Heat run test: | [6 empty] | Yes |  |  |  |  | No
39 |  | Other motor Tests (specify):
40 |  | Witness test required (14.4): | [10 empty] | Yes |  |  |  |  | No
41 |  |  | Drive only
42 |  |  | Drive/motor combined test
43 |  |  | Drive + Motor and load (Train string test)
44 |  | Other Tests (14.4):
45 |  | In addition to routine tests identified in the standard, the following tests shall be performed before shipment and when required hold points assigned (14.2):
46
47 |  |  | Temperature (heat run) test (special) | [16 empty] | Sound level test
48 |  |  | Control function test including operation of all electrical contacts, trips, and alarms
49 |  |  | Other:

## Manufacturer 1
[17 empty] | Issued for use by: | [11 empty] | Sheet 1 of 3 | [5 empty] | DOCUMENT NO.
IEEE 1566 - MEDIUM VOLTAGE ADJUSTABLE SPEED DRIVES ELECTRICAL DATA SHEET
JOB NO. | [15 empty] | ITEM / TAG NO.
PURCHASE ORDER NO.
REQ. / SPEC. NO.
REVISION NO. | [11 empty] | DATE | [14 empty] | BY
1 |  | Applicable To: | [7 empty] | Proposal | [10 empty] | Purchase | [7 empty] | As built
2 |  | NOTE: |  |  |  | DATA SHEET STATUS | [7 empty] | INDICATES INFO. TO BE COMPLETED BY PURCH. | [14 empty] | TO BE COMPLETED BY MANUFACTURER
ANNEX B, SHEET 1 OF 3 — TO BE COMPLETED BY THE MANUFACTURER
3 |  | General Information | [28 empty] | Enclosure (4.2.1):
4 |  | Vendor: | [13 empty] | Manufacturing Location: | [15 empty] | Indoor, IP21 |  |  |  |  | Other, Specify:
5 |  | Model Number: | [28 empty] | Gland Plate Location:
6 | [31 empty] | Incoming Power Cables: | [9 empty] | Top | [5 empty] | Bottom
7 |  | ASD rating (5.3): | [30 empty] | Size: | [7 empty] | Number per Phase:
8 |  | kW: | [5 empty] | Input Voltage: | [10 empty] | V |  |  |  |  | Output Voltage: | [5 empty] | V |  | Motor Cables: |  |  |  |  | Top | [5 empty] | Bottom
9 | [32 empty] | Size: | [7 empty] | Number per Phase:
10 |  | Arc flash incident energy based on maximum and minimum kA fault level provided at Annex A (see Annex A for further guidance): | [29 empty] | Control Cables: | [5 empty] | Top | [5 empty] | Bottom
11 | [31 empty] | Finish: |  |  | Manufacturing Std. | [11 empty] | As Specified
12 |  | Drive input cabinet: | [13 empty] | cal/cm2 | [18 empty] | Outside Colour:
13 |  | Power electronic cabinet: | [16 empty] | cal/cm2 | [15 empty] | Inside Colour:
14 |  | Drive Output Cabinet: | [14 empty] | cal/cm2 | [14 empty] | Rear access required: | [9 empty] | Yes | [5 empty] | No
15 | [31 empty] | Drive weight: | [10 empty] | kg
16 |  | Supply system voltage (6.1): | [29 empty] | Drive dimensions (W × D × H): | [22 empty] | mm
17 |  |  | 2400 V |  |  |  | 3300 V |  |  |  |  | 4160 V | [5 empty] | 6600 V | [6 empty] | 6900 V |  |  |  | 13800 V
18 |  |  |  | Other: |  |  |  |  | V |  | ± |  |  |  | % | [15 empty] | Rectifier (5.4):
19 |  | Line Frequency: | [7 empty] | 60 Hz |  |  |  |  | 50 Hz | [15 empty] | Pulse number: |  |  |  | 6 |  |  |  | 12 |  |  |  |  | 18 |  |  |  |  | 24 |  |  |  |  | 36
20 | [34 empty] | Other:
21 |  | ASD Auxiliary Three-Phase Power (6.1): | [32 empty] | Active front end (PWM rectifier)
22 |  | 60Hz: |  |  |  | 208 V |  |  |  |  | 480 V |  |  |  |  | 600 V | [6 empty] | Other: |  |  |  |  | V |  |  | Power semiconductor switching device:
23 |  | 50Hz: |  |  |  | 400V |  |  |  |  | Other: | [6 empty] | V | [13 empty] | SCR |  | GCT | [5 empty] | Diode | [6 empty] | IGBT | [5 empty] | Other:
24 |  | Capacity Required Control: | [17 empty] | kVA | [11 empty] | Peak inverse voltage rating: | [12 empty] | V
25 |  | Capacity Required Fan(s): | [17 empty] | kVA | [11 empty] | Average current rating: | [11 empty] | A
26 |  | Capacity Required Pump(s): | [18 empty] | kVA | [10 empty] | Total # of rectifier switching devices:
27 |  | ASD Auxiliary Devices requiring motor starter (6.1): | [23 empty] | Yes |  |  | No |  |  |  | Cooling: | [5 empty] | Single Sided | [8 empty] | Double Sided
28 |  | If Yes, to be powered by owner’s MCC: | [17 empty] | Yes | [5 empty] | No | [5 empty] | Total # of rectifier power fuses:
29 | [31 empty] | Rectifier power fuse ratings: | [13 empty] | V | [6 empty] | A
30 |  | Capacity (6.3): | [29 empty] | Precharge circuit?: | [7 empty] | Yes |  |  |  |  | No | [5 empty] | Not Applicable
31 |  | Continuous capacity at 40 °C ambient: | [23 empty] | kW
32 |  | 1 min overload capacity at 40 °C ambient | [21 empty] | A every |  |  |  |  | min |  | DC Link Circuit (5.5):
33 |  | Maximum continuous voltage: | [18 empty] | kV | [9 empty] | For Inductor:
34 | [30 empty] | Specify winding material:
35 |  | Acoustic Noise Level (6.18): | [19 empty] | dB(A) | [9 empty] | Air-core |  |  |  | Iron-core
36 | [30 empty] | DC Link Inductor:
37 |  | ASD Supply Voltage Ridethrough (6.9): | [29 empty] | Integral to ASD | [6 empty] | External to ASD | [10 empty] | Non-saturable
38 |  | Ride-through: | [10 empty] | cycles | [18 empty] | Split dual winding type | [10 empty] | Other:
39 |  | Input surge protection type: | [28 empty] | DC link inductor replacement frequency (5.5): | [20 empty] | years
40 | [30 empty] | Total # of dc bus capacitors:
41 |  | Reliability (1.3, 13.6): | [28 empty] | DC bus capacitor replacement frequency: | [17 empty] | years
42 |  | ASD MTBF:
43 |  | ASD MTTR: | [28 empty] | Inverter (5.6):
44 |  | ASD is suitable for a minimum of five years of continuous operation (1.3): | [28 empty] | Power semiconductor switching device:
45 |  |  |  |  | Yes |  |  |  | No | [22 empty] | SCR |  | GCT | [5 empty] | Diode | [6 empty] | IGBT | [5 empty] | Other:
46 |  | Other: | [29 empty] | Peak inverse voltage rating: | [13 empty] | V
47 |  | Switching device replacement time: | [21 empty] | minutes | [7 empty] | Controllable on-state current: | [13 empty] | A
48 |  | Availability: | [9 empty] | % | [19 empty] | Total # of inverter switching devices:
49 | [32 empty] | Cooling: | [5 empty] | Single Sided | [8 empty] | Double Sided

## Manufacturer 2
[14 empty] | Issued for use by: | [12 empty] | Sheet 2 of 3 | [6 empty] | DOCUMENT NO.
IEEE 1566 - MEDIUM VOLTAGE ADJUSTABLE SPEED DRIVES ELECTRICAL DATA SHEET
JOB NO. | [12 empty] | ITEM / TAG NO.
PURCHASE ORDER NO.
REQ. / SPEC. NO.
REVISION NO. | [8 empty] | DATE | [14 empty] | BY
1 |  | Applicable To: |  |  |  |  | Proposal | [10 empty] | Purchase | [8 empty] | As built
2 |  | NOTE: |  | DATA SHEET STATUS | [6 empty] | INDICATES INFO. TO BE COMPLETED BY PURCH. | [15 empty] | TO BE COMPLETED BY MANUFACTURER
ANNEX B, SHEET 2 OF 3 — TO BE COMPLETED BY THE MANUFACTURER
3 |  | Inverter (5.6) - Continued | [26 empty] | Source Impedance Device (8.0):
4 |  | Total # of inverter switches device anti-parallel diodes: | [27 empty] | AC line reactor | [7 empty] | Isolation transformer
5 |  | Output switching frequency: | [26 empty] | Location: |  |  | Indoor | [5 empty] | Outdoor
6 |  | Total # of inverter neutral point diodes: | [26 empty] | Winding Material: | [6 empty] | Copper | [5 empty] | Aluminum
7 |  | Inverter switching device failure mode: | [27 empty] | Dry type |  |  |  |  | Liquid-filled | [7 empty] | BIL: | [5 empty] | kV
8 |  |  | Non-rupture |  |  |  |  | Rupture | [6 empty] | Non-arc | [6 empty] | Arc | [6 empty] | Cooling: |  | Convection | [5 empty] | Forced air | [6 empty] | Water-cooled - Volume:
9 | [28 empty] | For water cooled transformers specify maximum water velocity: | [25 empty] | m/s
10 |  | Capacitors:
11 |  |  | Electrolytic |  |  |  | Oil-film type | [8 empty] | Other: | [12 empty] | Efficiency at Full Load: | [9 empty] | %
12 |  |  | Capacitor discharge time(4.2.5): | [15 empty] | mins | [9 empty] | Impedance: |  |  |  |  | %
13 |  |  | Warning label provided indicating dissipation time: | [22 empty] | Yes |  | No | Transformer/reactor weight: | [10 empty] | kg (if not part of drive)
14 | [28 empty] | Transformer/reactor dimensions (W×D×H): | [21 empty] | mm (if not part of drive)
15 |  | Harmonics (6.2, 6.16): | [26 empty] | Transformer winding Configuration (8.1.5):
16 |  | Compliance to IEEE 519 at PCC: | [11 empty] | Yes | [5 empty] | No | [9 empty] | Two winding | [5 empty] | Three winding | [8 empty] | Four winding | [7 empty] | Other:
17 |  | Compliance to IEC 61000 -3: | [9 empty] | Yes | [5 empty] | No | [10 empty] | Transformer Protection: | [9 empty] | Overload | [6 empty] | Overcurrent
18 |  | Predicted THD voltage: | [7 empty] | % |  | (if power system one-line provided) at PCC | [26 empty] | Overtemperature | [9 empty] | Transient overvoltage
19 |  | Predicted THD current: | [7 empty] | % |  | at PCC | [26 empty] | Other, specify:
20 | [28 empty] | Number of secondary windings:
21 |  | Control (7.1):
22 |  | Control power supply: | [6 empty] | 120VAC | [7 empty] | 48VDC | [5 empty] | 125VDC | [5 empty] | Other auxiliary equipment (list):
23 | [8 empty] | Other: | [19 empty] | Device: |  |  |  | Weight: | [6 empty] | kg |  |  | Dimensions (W × D × H): | [12 empty] | mm
24 |  | Supplied by: |  |  | Vendor | [5 empty] | Owner | [28 empty] | kg |  |  | Dimensions (W × D × H): | [12 empty] | mm
25 |  | Mode: |  |  |  | Sensorless vector | [11 empty] | V/Hz | [21 empty] | kg |  |  | Dimensions (W × D × H): | [12 empty] | mm
26 |  | Speed regulator bandwidth: | [9 empty] | rad/s | [16 empty] | Nominal line voltage: | [8 empty] | V |  |  | Supply Frequency: | [11 empty] | Hz
27 |  | Torque regulator bandwidth: | [10 empty] | rad/s | [15 empty] | Motor voltage: | [6 empty] | V
28 |  | Speed regulation: |  |  |  |  | No tach | [7 empty] | % |  |  |  |  | With tach | [6 empty] | % |  | ASD topology? | [12 empty] | Model No.:
29 |  | Output frequency range: | [8 empty] | Hz to | [7 empty] | Hz
30 |  | Regenerative braking? | [6 empty] | Yes |  |  |  |  | No | [14 empty] | Motor Compatibility (9.0): | [15 empty] | comment i-13
31 |  | Digital Interface protocol for remote troubleshooting: | [26 empty] | Inverter-duty motor required (per NEMA MG-1, Part 31)? | [22 empty] | Yes |  | No
32 | [28 empty] | Motor derating required? | [9 empty] | Yes |  |  |  | No
33 |  | Features: | [26 empty] | Motor voltage phase-to-phase waveform dv/dt? | [12 empty] | V/us
34 |  | Multishot trending? | [5 empty] | Yes |  |  |  | No | [16 empty] | Motor voltage phase-to-phase peak voltage | [17 empty] | V
35 | [28 empty] | Motor voltage phase-to-ground peak voltage | [17 empty] | V
36 |  | Range of Internal Adjustments | [26 empty] | Motor voltage neutral-to-ground peak voltage | [17 empty] | V
37 | [8 empty] | Minimum Value | [11 empty] | Maximum Value | [7 empty] | Maximum motor cable distance from ASD? | [18 empty] | metres
38 |  | Min Frequency (Hz) | [26 empty] | Recommended motor side cable insulation level: | [16 empty] | kV line to line
39 |  | Max Frequency (Hz) | [26 empty] | Recommended motor insulation level: | [20 empty] | kV line to line
40 |  | Current Limit (A)
41 |  | Acceleration rate (Hz/s) | [26 empty] | Input ASD Switchgear (10.2):
42 |  | Deceleration rate (Hz/s) | [27 empty] | Circuit breaker | [6 empty] | Input starter with vacuum contactor & fused isolator
43 |  | Breakaway Torque (%rated) | [27 empty] | E-stop capability? | [8 empty] | Yes |  |  |  | No
44 | [28 empty] | BIL (input switchgear): | [9 empty] | kV (based on full-wave test)
45 |  | Bypass equipment if required (7.4): | [14 empty] | Purchaser | [7 empty] | Vendor |  |  |  | Maximum common mode voltage external to drive: | [21 empty] | kV line to ground
46 |  |  | Synchronous transfer to line frequency (7.4.2, 7.4.3) | [25 empty] | Recommended line side cable insulation level: | [20 empty] | kV line to line
47
48
49

## Manufacturer 3
[12 empty] | Issued for use by: | [8 empty] | Sheet 3 of 3 | [6 empty] | DOCUMENT NO.
IEEE 1566 - MEDIUM VOLTAGE ADJUSTABLE SPEED DRIVES ELECTRICAL DATA SHEET
JOB NO. | [10 empty] | ITEM / TAG NO.
PURCHASE ORDER NO.
REQ. / SPEC. NO.
REVISION NO. | [7 empty] | DATE | [11 empty] | BY
1 |  | Applicable To: |  |  |  |  | Proposal | [6 empty] | Purchase | [6 empty] | As built
2 |  | NOTE: |  | DATA SHEET STATUS | [5 empty] | INDICATES INFO. TO BE COMPLETED BY PURCH. | [10 empty] | TO BE COMPLETED BY MANUFACTURER
ANNEX B, SHEET 3 OF 3 — TO BE COMPLETED BY THE MANUFACTURER
3 |  | ASD cooling methods (11.1): | [21 empty] | Harmonic Performance (6.15):
4 |  |  | Air-Cooled (11.2) | [20 empty] | ASD input harmonic levels (Current as a percentage of fundamental)
5 |  |  |  | Fan redundancy included: | [9 empty] | Yes |  |  |  | No | [5 empty] | Frequency |  |  |  |  | Harmonic Order
6 |  | Provision for ducting exhaust air: | [9 empty] | Yes |  |  |  | No | [12 empty] | 5 | 7 | 11 | 13 | 17 | 19 | 23 | 25 | 29 | 31 | 35 | 37 | 41 | 43 | 47 | 49
7 |  |  | Liquid-Cooled (11.3) | [20 empty] | 100%
8 |  |  |  | Water–air heat exchanger | [9 empty] | Water-water heat exchanger | [9 empty] | 75%
9 |  |  |  | Pump redundancy included: | [10 empty] | Yes |  |  |  | No |  |  |  |  | 50%
10 |  |  | Specify the lowest coolant Temperature to prevent freezing: | [19 empty] | ᵒC
11 |  |  | Hose pressure rating: | [9 empty] | Hose type: | [10 empty] | Shipping, Handling and Storage Requirements (15):
12 |  |  | Hose clamp system: | [20 empty] | Instructions for handling, lifting, reassembly and storage are provided:
13 |  |  | For liquid cooled specify Water / Glycol percentage mix: | [21 empty] | Yes |  | No
14 | [5 empty] | %/ |  |  |  | % | [13 empty] | Instructions for extended storage and power requirements to prevent condensation and humidity are provided:
15 |  |  | State the means used to avoid thermal shock to ASD components from incoming air at lowest ambient temperature:
16 | [24 empty] | Yes |  | No
17
18 | [23 empty] | Spare Parts List (17):
19 | [23 empty] | Provide a complete recommended spare part list on a separate sheet.
20 |  | Overall ASD Efficiency and Power Factor (5.3, 14.4):
21 |  | Variable Torque Load | [21 empty] | Commissioning & Start Up Assistance (16.2):
22 |  | Percent of Base Frequency |  |  | Percent Load (Torque) | [18 empty] | Nearest available service rep location from customer site:
23 |  |  |  |  | 25% | [5 empty] | 56.25%* | [7 empty] | 100% |  |  |  |  | Weight of heaviest component removable for maintenance/troubleshooting:
24 |  |  |  |  | Eff |  |  |  | PF |  | Eff | [5 empty] | PF |  | Eff |  |  | PF |  |  |  | kg
25 |  | 100% | [21 empty] | Location of nearest service center with trained personnel:
26 |  | 75% | [16 empty] | N/A |  |  | N/A |  | Maximum weight of power components to be removed by two people (5.7):
27 |  | 50% | [8 empty] | N/A | [5 empty] | N/A |  | N/A |  |  | N/A |  |  |  | kg
*For Variable torque application, the torque is proportional to the speed squared. For example, at 75% speed, the percent load torque is 56.25%
28
29 |  | Constant Torque Load
30 |  | Percent of Base Frequency |  |  | Percent Load (Torque)
31 |  |  |  |  | 100% | [5 empty] | 75% | [7 empty] | 50%
32 |  |  |  |  | Eff |  |  |  | PF |  | Eff | [5 empty] | PF |  | Eff |  |  | PF
33 |  | 100%
34 |  | 75%
35 |  | 50%
36
37 |  | Custom Load Profile
38 |  | Percent of Base Frequency |  |  | Percent Load (Torque)
39
40 |  |  |  |  | Eff |  |  |  | PF |  | Eff | [5 empty] | PF |  | Eff |  |  | PF
41 |  | 100%
42 |  | 75%
43 |  | 50%
44
45 |  | Note—ASD efficiency and power factor shall include all components including line reactors, harmonic filters, isolation transformers, dc link reactors, output filters, coolant fans, pumps, etc. as applicable.
46
47